## Slide 1: From Bench to Benefit: The Hidden Work of Bringing a New Category of Cancer Screening Test to Market
EDRN SCIENTIFIC SUMMIT
SEPTEMBER 22, 2026

## Slide 2: Disclosures
Employment: Mercy BioAnalytics
Stock / Equity Ownership: Mercy BioAnalytics, Quanterix

## Slide 3: Our Mission
Relieve suffering and save lives through the early detection of cancer
By focusing on rigorous science, we are pioneering globally accessible and accurate diagnostic tests to identify cancer at its earliest stages when it can be most successfully treated. This will advance the diagnostic paradigm and offer better health outcomes for more people.

## Slide 4: Our Technology Measures Extracellular Vesicles
A Better Test Needs a Better Biomarker
Salem et al., JMD, 2024
Tumor Cell
Tumor Markers
Lipid Bilayer
High Stage I & II SENSITIVITY
Ultra-High SPECIFICITY

## Slide 5: Our First-Generation Platform: Mercy Halo
EV-based blood tests: simple workflow, low sample volume requirement
Tumor-derived EV
Healthy cell-derived EV
Immunoaffinity Capture
qPCR Detection
Detection Abs with complementary oligonucleotides

## Slide 6: EDRN PRoBE Study Design Framework
PROBE DESIGN ELEMENT1,2
Standardized Processing
Blinded Evaluation
Laboratory assays are performed on the stored samples while technicians remain blinded to the patient's clinical outcome.
Samples are collected, processed, and stored identically to prevent pre-analytical technical bias.
Biospecimens are gathered from a relevant clinical cohort before clinical status is ascertained.
Identical Conditions
Cases and controls are enrolled under the exact same criteria.
Prospective Collection
Identical Collection
Standardized Processing
Blinded Evaluation
1Pepe, JNCI 2008
2Ransohoff, JNCI, 2008

## Slide 7: Mercy Bio’s Longitudinal, PRoBE-Aligned Cohorts
UKCTOCS
200,000 Subjects
enrolled in a randomized controlled screening trial for ovarian cancer
Blood sample collected at enrollment/longitudinal
7-11 years of annual screening
Comparative evaluation of Mercy’s Evident Test, CA125, ROCA, & TVUS
NLST
50,000 Subjects
enrolled in a randomized controlled screening trial for lung cancer
Blood samples collected longitudinally
3 years of annual screening
Comparative evaluation of Mercy Test vs LDCT
PLCO
78,000 Subjects
enrolled in a randomized controlled screening trial for ovarian cancer
Blood samples collected longitudinally
4-6 years of annual screening
Comparative evaluation of Mercy Test vs CA125 & TVUS

## Slide 8: Ovarian Cancer is Deadly…
…but it doesn’t have to be
Confidential and Proprietary. Copyright © 2026 by Mercy BioAnalytics, Inc. All Rights Reserved.
Ovarian cancer cases diagnosed at Stage III or IV2
80%
Five-year survival when diagnosed at Stage IV2
30%
Diagnosed only after an Emergency Room visit1
40%
60M+
Postmenopausal women suitable for screening3
1Zachou et al., BMJ Oncology, 2026
2seer.cancer.gov
3census.gov

## Slide 9: The Long Journey to Patient Impact
Test Development
Clinical Validation
FDA Approval
Guidelines Inclusion
Payer Coverage
5-10 YRS
1-2 YRS
5+ YRS
1-2 YRS

## Slide 10: The Long Journey to Patient Impact Starts Here
Test Development
Clinical Validation
FDA Approval
Guidelines Inclusion
Payer Coverage
5-10 YRS
1-2 YRS
5+ YRS
1-2 YRS

## Slide 11: Evident Ovarian Cancer Population Screening Test
Now Available | Modular PMA review in progress
1Manning et al., Gyn Oncology, 2025
Screening Average Risk Postmenopausal Women
89% stage I/II sensitivity at 98% specificity for detecting prevalent round high grade serous ovarian cancer in a well-powered blinded evaluation in the intended use population1
Significantly superior performance compared to CA125 & TVUS1
Cancer detection nearly two years earlier than CA1251
Modular PMA submission initiated under FDA Breakthrough Device Designation; 1st PMA Module reviewed & accepted; IDE approved
Testing in our certified CAP/CLIA lab happening now
UKCTOCS
200,000 Subjects
enrolled in a randomized controlled screening trial for ovarian cancer
Blood sample collected at enrollment/longitudinal
7-11 years of annual screening
Comparative evaluation of Mercy’s Evident Test, CA125, ROCA, & TVUS

## Slide 12: Evident Test: PRoBE-Aligned Clinical Validation
Longitudinal Clinical Validation Study Is Complete
ANNUAL CA125
~50,000
up to 4 longitudinal samples
ANNUAL TVUS
~50,000
NO SCREENING
~100,000
Longitudinal Clinical Validation Study
200 cases; 148 HGSC, ~10X controls
Enriched for under- represented minorities
Endpoints: sensitivity & specificity
200,000
women
UKCTOCS Trial
enrolled in a randomized controlled screening trial for ovarian cancer
Blood sample collected at enrollment
20 years of follow-up
~1600 samples tested with Mercy Halo and CA125
Clinical Validation Study
89% early-stage sensitivity
98% specificity
Superior vs CA125 and TVUS
UKCTOCS
~200,000 post-menopausal women
randomization

## Slide 13: PRoBE Cohorts Can Enable Similar or Better Statistical Power vs Prospective Studies
Test #1
Test #2
Test #3
Test #4
Sensitivity
Specificity
FDA approved non-invasive CRC screening tests
Assessment of sensitivity and specificity with tight confidence intervals

## Slide 14: Mercy’s Study Also Reports Screening Program Sensitivity All Other Studies Report Prevalent Sensitivity Only
Sensitivity
Prevalent round-only studies can over-estimate sensitivity
Prevalent Round
n = 26
Incident Rounds
n = 122
CA125
~80% incident cancers
100% prevalent cancers
Test #1
Test #2
Test #3
Test #4
FDA approved non-invasive CRC screening tests

## Slide 15: The UKCTOCS Cohort: An Oldie but a Goodie
Data suggests similar test performance in banked vs freshly collected samples
2
4
6
8
10
12
2
0
6
4
10
8
12
R2 = 0.959
n = 318
Original CA125 (log2) from UCL
Mercy-Generated CA125 (log2)
The Samples Are Stable
Concordant CA125 results on matched samples generated 20+ years apart1
Old Samples Behave Like New Samples
Similar signal distributions in freshly collected samples vs UKCTOCS samples
0.00
0.12
0.24
0.36
0.48
0.64
0.72
Evident Test Score
Red Cross
Mercy CLIA Testing
UKCTOCS
0
16
14
12
10
8
6
4
2
Density
1Winn-Deen et al., JMD, 2024

## Slide 16: PRoBE Studies Do Have Important Limitations
Sources of Bias1 | Risk | Mitigation
Spectrum Bias |  | All Available Cases Tested
Pathological Spectrum | LOW | Stage distribution reasonably aligned to SEER statistics
Clinical Spectrum | LOW | Presence of non-specific symptoms was not an exclusion criteria in the trial
Co-Morbidities Spectrum | LOW | Co-morbidities were not an exclusion criteria in the trial
Demographic Spectrum | MOD | Enrich cohort for under-represented minorities; post-stratification adjustment to match US age distribution
Work Up Bias |  | Blinded Evaluation
Diagnostic Review Bias | LOW | Evident test was compared against definitive truth, and was not used to catalyze workup
Test Review Bias | LOW | All diagnoses were confirmed and adjudicated by an independent Outcomes Review Committee
Incorporation Bias | LOW | The Evident Test result was generated on a blinded basis; analysis only after all results were reported
Limitation: PRoBE study designs can’t address test safety associated with downstream workup of false positive results
Mitigation: Mercy is running a prospective interventional study to evaluate test safety
Primary endpoint: # women screened per false positive surgery
Regulatory: IDE was approved by FDA on Sept. 18
Enrollment: Starting in Q4 ‘26
Key Limitation: Safety
1Ransohoff & Feinstein, NEJM, 1978

## Slide 17: The Long Journey to Patient Impact is Just Getting Started
Test Development
Clinical Validation
FDA Approval
Guidelines Inclusion
Payer Coverage
5-10 YRS
1-2 YRS
5+ YRS
1-2 YRS

## Slide 18: Medicare Coverage Requires One of Two Events to Occur
18
Confidential and Proprietary. Copyright © 2024 by Mercy BioAnalytics Inc. All Rights Reserved.
18
Pathway #1: Act of Congress
Congress can pass a law amending the Social Security Act of 1935 to add a new Medicare benefit category
Breast, CRC, cervical, prostate, and now multi-cancer screening tests are covered this way
Pathway #2: USPSTF
Under the Affordable Care Act, CMS can cover cancer screening if the test receives an A or B rating from the USPSTF
Lung cancer screening is covered this way

## Slide 19: This System Creates a Powerful Disincentive for Investment in New Screening Tests
Established Medicare benefit category or USPSTF recommended predicate
New Medicare benefit category established through legislation
Colorectal & Lung | 6 companies
MCED | 3 companies
All Other Categories Combined | $0.1B
Data: Venture capital invested in currently operating companies during their pre-IPO phase. Category assignments made based on primary area of focus at the time of venture investment.

## Slide 20: A New Paradigm is Needed
OLD PARADIGM
NEW PARADIGM
A single large prospective prevalent-round trial to demonstrate performance at a single screening encounter
Totality of evidence across longitudinal PRoBE & prospective trials to demonstrate performance in a screening program
Safety & Effectiveness
100,000+ subject, 10+ year randomized controlled trial to demonstrate mortality benefit
Alternative endpoints including stage-shift & natural history modeling studies to impute mortality benefit
Benefits & Harms
Act of Congress or USPSTF A/B rating to enable Medicare coverage with no cost sharing
Provisional Medicare coverage with cost sharing for tests approved under FDA’s Breakthrough Device Program
Reasonable & Necessary

## Slide 21
“
If you want to go fast, go alone; if you want to go far, go together.
Please join us on our mission to relieve suffering and save lives through the early detection of cancer.
“