## Slide 1
W.S. Graves
Arizona State University
Compact Source of Intense X-rays for Biomedical Applications

## Slide 2
X-ray tube from 1917
X-ray tube today
Flux of 5 X 109 photons/sec
Brilliance* of 109
Factor of ~100 better than 100 years ago
X-ray flux of 107 photons/sec from source of few mm2 and large opening angle
From Rontgen’s tube to today’s best laboratory-scale sources
*Brilliance is in units
photons/(sec mm2 mrad2 0.1%)
Tubes are primitive low energy (0.1 MeV) electron accelerators

## Slide 3
Particle accelerators in the 20th century
Synchrotron radiation from relativistic beams first developed around 1960 and is now mature 50 years later
X-ray flux of 1015 photons/sec into a 50 X 50 micron spot
X-ray brilliance of 1021 photons/(sec mm2 mrad2 0.1%)
Roughly a trillion times brighter than a laboratory source!
Advanced Photon Source (APS) at Argonne Nat’l Lab
kilometers in size
$1 billion in cost
7,000 MeV electron energy
1000’s of users

## Slide 4
X-ray Free Electron Laser (XFEL)
X-ray bursts of 1012 photons in 100 fs
Peak x-ray brilliance of 1033 photons/(sec mm2 mrad2 0.1%)
Transverse coherence (not yet temporally coherent)
kilometers in size
$1 billion in cost
14,000 MeV electron energy
100’s of users
Linac Coherent Light Source (LCLS) at Stanford

## Slide 5
Source size
Dx, Dy
Source Divergence
Dqx , Dqy
Radiation from an undulator

## Slide 6
Generational advances in beam brilliance
XFELs
X-ray Tubes
CXLS
CXFEL
Synchrotron Radiation
Relativity
Coherent
Emission

## Slide 7
Undulator Radiation
X-ray radiation
Laser field
Electron beam
Inverse Compton Scattering
Laser wavelength is 10,000X shorter than undulator period
Electron energy is 100X lower for same x-rays
Facility size and cost is 100X lower ($1B -> $10M)
How to make a compact source?

## Slide 8
Basic Layout for ICS
RF gun
1 meter long linac
Quads
Dipole
X-ray optic
Electron dump
ICS
Laser cavity
Laser amplifier
Sample
Detector
~4 m

## Slide 9
Yb:KYW amp #1
Yb:KYW amp #2
Oscillator
Yb:KYW compressor
Yb:YAG regen
Yb:YAG compressor
UV for cathode
Cryo Yb:YAG
RF transmitter
Power supplies for magnets, UHV equipment, lasers
Linac
RF gun
Chicane
Interaction area for ICS
Beam dump
X-ray experiments
Compact X-ray Light Source (CXLS)

## Slide 10
Now – Q2 2018 Biodesign C construction
Now – Q3 2017 Equipment assembly at MIT
Q4 2017 Demonstration x-ray experiments
Q2 2018 X-ray program at ASU
Biodesign C Project Schedule

## Slide 11
CXLS/CXFEL Laboratories
Biodesign C Building Basement

## Slide 12
Courtesy of W. Hendrickson, Columbia U.
High brilliance is needed for modern x-ray science
Complex structures and small crystals require high brilliance x-rays
Modern methods require tunable, monochromatic radiation

## Slide 13
Virus Protein Science at the MIT STC
-M. Rossmann, Biological Sciences
Conduct structure determinations of proteins associated with viruses, and viral complexes with antibodies and antiviral agents. Extend current research efforts into
                bacteriophages
                animal RNA viruses
                large ds DNA viruses
                virus-membrane interactions
Structure of Pathogens
Virus Protein Science at Purdue
- Michael Rossman
Bacteriophages
Flaviviruses
ds viruses
Alpha viruses
Notes: 13
Fonts
Font used in Title is Helvetica Bold 100 pt.
Font used on Presenters is Helvetica 54 pt.
Font Sizes for body text should be no smaller than 14 pt. And no larger than 24
Secondary Tiles should be sized larger than body text by at least 10 pts.
Note:
Not all computers have the same fonts. When designing your poster please keep this in mind. Common fonts that are easily found on the majority of machines will be
Helvetica
Times
Times Roman
Arial
Verdana
Symbol
Georgia
Impact
Courier
Book Antiqua
Using one of these fonts will save you time and headaches down the road.
2. When working with text from Word. Do not simply drag the text from Word into Powerpoint creating a “Text Box”. It makes it to hard to adjust the size and position in your poster. Also numerous errors such as spacing between words, character switching and formating errors can occur. When ever possible create the text using the Powerpoint text tool. This will eliminate many of the text problems occurring in printing. One other way would be to select the text in word, copy, then “paste it into Powerpoint.
3. Accenting Text can be bone with color, It is best to keep the title in black.
Graphics
Note:
1. For printing purposes images should be no smaller than 250dpi. Do Not use images that you have taken off the web! These images are 72 dpi and are absolutely no use for printing. Tif files seem to work the best. Images can be converted through Photoshop and various other programs. If creating images in a scientific application make sure you can export the file as a Tif. Excel files can also be used in Powerpoint
2. Colored Backgrounds are nice but are not needed. Plain white is best for presenting your material. Colored Backgrounds waste too much of the ink on the printer, and if it is a complicated color can cause banding or streaking . Color should be used in graphs, charts, images, and text.
3. In the lower right corner is the Purdue Logo. This is the official logo of the University. And Should be displayed accordingly with the co-branding identity of the Department of Biological Sciences underneath.
The co-branded school or department name appears no taller than one-half the height of the small caps in the word “Purdue” and no shorter than the font size in
the word “university” in the Purdue signature. Co-branded school or department name aligns right or left with the Purdue signature.
( officially Frutiger is the font suppose to be used as the dept. name however it is not that common on all computers if you do have this Font you can use it instead of Verdana which is found in this Template.)
4. Try putting a lined border around graphs and images to keep them from appearing like they are floating. The line tool has many options and widths. Keep it simple, the single lines work the best.
5. There is a black line bordering the poster area. For poster printing purposes all material should be set within this border.
If you do not wish to have a border around the edge when the poster is printed, simply select and delete after you have the final layout complete.
Layout
Notes:
There are many different ways to lay out your material. One suggested method is to separate information into different columns. Columns shouldn’t be much wider than 8.5 inches. Wider columns tend to be harder to read when presenting a lot of material. At 8.5 inches wide per column 4 columns across would give you nice spacing between each one and make it easy to read. Whatever your column width, try to keep it consistent through out the poster

## Slide 14
Courtesy of F. Pfeiffer, TU-Munich

## Slide 15
Courtesy of F. Pfeiffer, TU-Munich

## Slide 16: What is Phase Contrast Imaging?
Object
X-rays Wave: Amplitude, frequency, and phase

## Slide 17: Contrast Mechanisms
Complex refractive index:
η = 1 − δ + iβ
Attenuation:
  Depends on β
  Path length
  Photoelectric effect
  Compton scattering
  Depends on Z
Phase change:
  Depends on δ
  Path length
  Depends on Electron Density

## Slide 18: Magnitude of Attenuation and Phase Contrasts
Material | µ (cm-1) at 60keV | Φ (cm-1) at 60keV | Ratio
H2O | 0.2061 | 195.5 | 949
dH2O | 0.2267 | 215.1 | 949
Ethenol | 0.1582 | 156.6 | 990
Glycerin | 0.2477 | 140.7 | 568
Fat | 0.1793 | 180.7 | 1008
Liver | 0.2174 | 205.2 | 944
Sources: |  |  | 
ICRP (1975) |  |  | 
Woodard and White (1986) |  |  | 

## Slide 19
The phase image not only improves contrast, it also shows the localized nature of the cancer which is amenable to surgical resection
Ductal Carcinoma in-situ
Courtesy of C. McCollough, Mayo Clinic
Phase Contrast
Attenuation Contrast
Histology

## Slide 20
Coherent x-rays require coherent electron bunching
Random electron positioning for
Undulator radiation with GeV electrons or
Inverse Compton Scattering with MeV electrons
Coherently bunched electrons for
XFEL radiation (GeV electrons) or
Coherent ICS, compact CXFEL (MeV electrons)
lx
bc
lx
Pendellosung fringes: electron diffraction varies periodically with wedge thickness

## Slide 21
ASU CXFEL
Brilliance of Light Sources

## Slide 22
Summary
ASU is building an intense x-ray source on campus in the basement of the new Biodesign C
Experiments start within 1 year
Synchrotron-like beam properties enable major advances in x-ray imaging using phase contrast methods
Plans are underway to upgrade the source to an x-ray laser
The new x-ray source enables a wide range of scientific and medical applications currently only possible at giant national lab facilities