## Slide 1: Use of Novel Proteomic Approaches for Cancer Biomarker Identification and Verification
Karin D. Rodland, Ph.D.
September 5th, 2018
33rd Early Detection Research Network
Steering Committee Meeting

## Slide 2: Translating Proteomic Discoveries to the Clinic: the Biomarker Problem
There is an unmet clinical need for minimally invasive biomarkers for early detection of ‘silent’ cancers, such as cancers of the ovary or pancreas
Multiple laboratories have been funded to identify potential biomarkers, generating long lists of candidates
  Discovery strategies have included transcriptome profiling, next-gen sequencing of DNA, DNA methylation, and proteomic studies
  There is a need to convert candidate lists to protein-based assays and prioritize for development of affinity reagents
Use of targeted proteomics can rapidly identify good-performing candidates without the need for affinity reagents
The Goal: Help Poor Performing Candidates Fail Quickly and Cheaply

## Slide 3: A General Strategy for Biomarker Development
Rifai et al., Nat Biotechnol. 2006, 24, 971-983
bottleneck

## Slide 4: Integrating Discovery and Verification
Protein abundances
Protein activities
Multiple types of PTMs
Broad Quantification for Discovery
Targeted quantification
for experimental Verification
PTM crosstalk and pathways/networks
Global proteomics is hypothesis generating
Targeted proteomics is hypothesis testing

## Slide 5: The Sensitivity Problem in Biomarker Discovery
Anderson et al., Mol Cell Proteomics, 2002
PSA
Global LC-MS/MS
SRM
advanced SRM

## Slide 6: Targeted MS Assays are Specific and Sensitive
Using 10-200 µL of blood plasma or serum
1Anderson et al., Mol Cell Proteomics. 2006, 5, 573-588
2Keshishian et al., Mol Cell Proteomics. 2007, 6, 2212-2229
3Whiteaker et al., Mol Cell Proteomics. 2012, 11, M111.015347
Other platforms
4Shi et al., Anal Chem. 2013, 85, 9196-9203
5Shi et al., Proc Natl Acad Sci. 2012, 109, 15395-15400
6Shi et al., J Proteome Res. 2013, 12, 3353-3361
7Nie et al., Anal Chem. 2017, 89, 9139-9146
PNNL platforms (Ab-independent)
Protein represented by 2 or more unique peptides:
PNNL data
Online database
Prediction tools

## Slide 7: Highly Sensitive SRM Platforms at PNNL
LG-SRM
PRISM-SRM
DD-SRM
PRISM-SRM
10 ng/ml
100 pg/ml
10 pg/ml
(no need for depletion)

## Slide 8: The Biomarker Verification Problem: Prioritizing Resources for Affinity Reagent Development
Differential expression studies identify scores to 100s of candidates
Clinical assays are likely to be affinity reagent based
Can targeted mass spectrometry identify panels of biomarkers with improved predictive ability?

## Slide 9: Approach: Examine Prostate Cancer-associated Candidates from Genomic Studies
In collaboration with the Center for Prostate Disease Research (CPDR), we identified a list of 52 biomarker candidates for discriminating indolent from aggressive prostate cancer
Selection was based on the curated literature
  genes statistically associated with prostate cancer prognosis
  prostate cancer associated genes that were up-regulated in transcriptomics studies
  other cancer-related genes
Sensitive, multiplexed PRISM-SRM assays were developed to the following candidates:
CaP prognosis associated genes | Other CaP associated genes | Other cancer related genes
AKT1 | AMACR | BRAF
ANXA2 | CRISP3 | CAMKK2
AR | ERG (pan) | EGFR
AURKA | ERG8 | HIF1A
CCND1 | ETV1 | HPN (TMPRSS1)
CDKN1A | FOLH1 (PSMA) | HSPB1
EZH2 | HOXC6 | MMP2
FGFR1 | KLK2 | MMP9
MUC1 | KLK3/PSA | PDGFRB
MUC6 | KLK11 | PIK3CA
MYC | MYO6 | PLA2G7
MYCN | NPY | ODC1
NCOA2 | PSGR | RAF1
PMP22 | SPARC | SERPINI1
SMAD4 | TWIST1 | STAT3
SPINK1 |  | TGFB1
SPP1 (OPN) |  | TP53
TFF3 |  | TPM2
 |  | VEGFA

## Slide 10: PRISM-SRM Analysis of 279 FFPE Blocks from Prostatectomies with 10 years Follow-Up
Z-score of protein level
Outcome:
No progression
BCR
Metastasis
Protein

## Slide 11: Performance of Complementary Biomarkers for Predicting Prostate Cancer Metastasis
SPARC/PSA score
TGFB1/PSA score
Pathology base model
= Path T stage + GG + Surgical margin
AUC 0.95
AUC 0.93
SPARC/PSA score
TGFB1/PSA score
Biopsy base model
= Age at diagnosis + Race + NCCN risk
AUC 0.94
AUC 0.94

## Slide 12: EDRN Collaborative Project: Evaluation of 61 Candidate OvCa Biomarkers
Candidate ovarian cancer biomarkers representing consensus of the ovarian cancer BDLs
Assay development
  PNNL developed multiplexed SRM assays for candidates lacking antibodies
SRM assays validated on EDRN Serum Set
  32 candidates validated by LC-SRM and 29 candidates by PRISM-SRM
  50 ovarian cancer cases and 50 matched controls
  Determined sensitivity at 98% specificity
A final set of 8 promising protein biomarker candidates submitted for Luminex analysis at JHU
K1C19
WFDC2
MUC16
A2GL
CBPA4
SPON1
FOLR1
K2C8

## Slide 13: Candidate Biomarker Performance: Serous Ovarian Cancer vs. Benign Serous Disease
Notes: PRISM-SRM analysis of candidate biomarkers in serum samples from serous ovarian cancer patients (red) and patients with serous benign ovarian disease (blue). : box-pots of the same measurements

## Slide 14: Targeted Mass Spectrometry Can Identify Unique Molecular Events
Distinguishing among PSA variants to improve performance
  Free versus bound PSA
  PSA processing variants
Identifying specific TMPRSS2:ERG fusions
Identifying driver mutations at the protein level

## Slide 15: Analysis of Serum Total and Free PSA Using Immunoaffinity Depletion Coupled to LC-SRM
Liu et al. J Proteomics. 2012, 75, 4747-4757
Chart: Total PSA by immunoassay (ng/mL)
| 1.1000000000000001 | 2.2000000000000002 | 14.5 | 3.8 | 5.7 | 26.9 | 10.6 | 0.3 | 31.2 | 9.1 | 0.9 | 67.7 | 5 | 0.1 | 24.2 | 68.099999999999994 | 1.2 | 12.8 | 89.5 | 10.4 | 2.4 | 26.9 | 0.6 | 31.4 | 10.7 | 0.4 | 74.099999999999994 | 4.9000000000000004 | 110.8 | 0.1 | 12.2 | 37.1 | 1
 | 0.63903 | 2.3725 | 18.4724 | 5.8762 | 7.0163 | 29.9072 | 8.6804 | 0.94785 | 35.1251 | 12.2442 | 1.9085 | 73.2312 | 7.1129 | 2.1444 | 31.6128 | 85.3273 | 1.4354 | 15.2958 | 154.0216 | 13.3153 | 5.4121 | 13.3803 | 0.87559 | 43.2845 | 14.2179 | 4.7374 | 84.2669 | 5.5395 | 104.9542 | 0.3995 | 19.4874 | 63.0134 | 2.908
Low ng/mL levels were achieved for both total and free PSA analysis
Good correlation of SRM and immunoassay results of total PSA measurements for a set of 33 blinded clinical serum samples
PRISM SRM performed as well, in both sensitivity and accuracy, as a CLIA-approved ELISA for PSA

## Slide 16: Simultaneous Quantification of proPSA Isoforms in Prostate Patient Urine Using LG-SRM
Heavy (IS)
Light
PSA
(-2) proPSA
(-4) proPSA
(-5) proPSA
(-7) proPSA
Shi et al., unpublished results

## Slide 17: Identifying TMPRSS2:ERG fusions products
TMPRSS2:ERG fusion variants
Occurs in ~45% of prostate cancers
~100% specificity for prostate cancer
Current assays rely on PCR or FISH
Lack of good antibodies against ERG protein
John et al. J Cancer Sci Ther. 2012, 4: 94-101.
Notes: Sets up the T2:ERG fusion protein as a target for SRM assays; illustrates multiplicity of possible isoforms

## Slide 18: Sensitive Detection of Multiple TMPRSS2-ERG Fusion Protein Products Using PRISM-SRM
He et al., Mol Oncol. 2014, 8, 1169-1180
*
*
#
#
#
Range for LOD (0.5-5 amol/µg total protein) and LOQ (2-50 amol/µg total protein)
Three “shared” peptides as signature peptides for detection of T2ERG fusion
Highly correlated with T2ERG fusion status (in both patient tissues and cell lines)
For the first time, detection of two distinctive ERG protein isoforms simultaneously expressed in T2ERG-positive tissues
#
*

## Slide 19: Identification of Specific SPOP Mutations
fmol/µg of total protein
Example: F102C mutation
Applying PRISM-SRM assays to analyze HEK293 cells with the expression of WT and three most frequent SPOP mutations in prostate cancer led to confident detection of all three SPOP mutations in the positive cell lines, but not in the negative cell lines.
Wang et al., J Transl Med. 2017, 15(1): 175
SPOP Peptide | WT | Y87N | F102C | F133V
VNPKGLDEESKDYLSLYLLLVSCPKSEVR | 0.6 |  | 10.1 | 0.8
VNPKGLDEESKDYLSLNLLLVSCPKSEVR |  | 10.3 |  | 
AKFKFSILNAKGEETKAMESQR | 1.2 | 26.1 |  | 1.9
AKCKFSILNAKGEETKAMESQR |  |  | 54.2 | 
FVQGKDWGFKKFIR | 0.7 | 12 | 15.3 | 
FVQGKDWGVKKFIR |  |  |  | 0.9
LADELGGLWENSR | 2.2 | 26.8 | 35.4 | 2.6
SLASAQCPFLGPPR | 10.8 | 122.4 | 159.4 | 13.0

## Slide 20: The Next Challenge: Nanoproteomics
Traditional Sample Handling
100 cells
1000 cells
10,000 cells
1 x 105 cells
1 x 106 cells
1 x 107 cells
5 ng
50 ng
500 ng
5000 ng
50,000 ng
500,000 ng
0.05 ng
2,000,000,000 ng
Tissues
Plasma
Biopsy
Sorted Cells
LCM tissues
Embryos
Cell Culture
Primary Cultures
Exosomes
Culture Secretome
Tissue “Voxels”
Nanoproteomics → → →
Circulating Tumor Cells

## Slide 21: New Technologies for Nanoproteomics
Huang et al., Endocrinology. 2016, 157, 1307-1314
Clair et al., Sci Rep. 2016, 6: 39223
Zhu et al., Anal Chem. 2013, 85, 6723-6731
Zhu et al., Nat Commun. 2018, 9, 882
Nanowell
SNaPP
nanoPOTS

## Slide 22: The Strategy: Minimize Sample Losses
Homogenization/
Extraction
DTT
Urea
IAA
Trypsin
Denaturation/
Reduction/
Alkylation/
Tryptic Digestion
Desalting
Surface
Surface
Surface
Transfer
Collection/
Concentration
Surface
Transfer
Transfer
Surface
Surface
Decrease surface area
Provide a protective carrier

## Slide 23: Single Cell Proteomics – Initial Results
Single cell isolation with Fluorescence-Activated Cell Sorting
Size or fluorescence-based cell sorting
Precise cell number in each wells
100% success rate (21/21)
500 µm
Zhu et al., unpublished results

## Slide 24: nanoPOTS: Protein Identification and Quantification
0 to 10 cells (triplicate analyses)
An average of 669 protein groups were identified for single HeLa cells
332 protein groups were quantifiable with LFQ for single cells
Single-cell Pearson correlations: 0.93-0.96
Zhu et al., unpublished results

## Slide 25: Adding Carrier for Targeted Proteomic Experiments
Large contact surface area
Very low concentration
cPRISM-SRM
Carrier-assisted ‘nesting’ of sorted cells
eLC-SRM
RT-PCR tube
Single cells of interest
Exogenous carrier proteins
Carrier
Exaggerated cartoon
Because the MS analysis is targeted at specific peptides, the presence of a vast excess of carrier does not complicate the MS

## Slide 26: Platform sensitivity comparison (The lowest abundance quantifiable proteins)
MS platform | Limits of quantification (LOQs) |  | 
 | Cell number | Protein | Copies per cell
SNaPP-MS | 50 mouse cells | n/aa | n/aa
nanoPOTS-MS* | 10-14 HeLa | PARP4 | ~19,200b
cPRISRM-SRM* | 10 HMEC | SHC1 | ~25,000c
eLC-SRM* | 10 MCF7 | PTPN11 | ~54,100c
a Only 6 high-abundance proteins were detected.
b Bekker-Jensen et al. CellSyst 4, 587-599 (2017).
c Shi et al. Sci Signal 9(436):rs6 (2016).
* 30 µm i.d. × 70 cm column with 60 nL/min for nanoPTOS-MS; 100 µm i.d. × 20 cm column with 300 nL/min for both cPRISM-SRM and eLC-SRM

## Slide 27: Summary
Global proteomics is a powerful technique for discovery of candidate biomarkers based on protein differential expression
  Most candidates from differential expression experiments (RNA or protein) do not verify
Targeted proteomics can quickly and efficiently prioritize candidate biomarkers for affinity reagent development
  Targeted proteomic methods can approach (or improve on) sensitivities achieved with antibody-based methods
  Targeted proteomic methods are sequence-specific
Targeted proteomics can verify protein-level expression of cancer-associated molecular events
  mutations, splicing variants, gene fusions
Current advances in nanoproteomics are approaching single cell sensitivities

## Slide 28: Acknowledgements
Collaborators
  CPDR: Shiv Srivastava, George Petrovics, Jennifer Cullen, Yongmei Chen, Denise Young, Albert Dobi
  UTHSCSA: Ian Thompson, Robin Leach, Brandy Weaver
  Emory: Martin Sanda, Kathryn Pellegrini
  Toronto: Thomas Kislinger, Stanley Liu
  EDRN GU Collaborative Group
The EDRN Team (Integrative Omics Group) at PNNL
Yuqian Gao
Yi-Ting Wang
Hui Wang
Athena Schepmoes
Tujin Shi
Chia-Feng Tsai
Tom Fillmore
Ying Zhu
Paul Piehowski
Wei-Jun Qian
Richard Smith
Tao Liu
Karin Rodland
EDRN/NCI
  Jacob Kagan, Lynn Sorbara, Sudhir Srivastava

## Slide 29
Back up slides

## Slide 30: Simple NanoProteomic Platform (SNaPP)
25µL
SPE
PAL
Nano
Pump
1
Cap
Pump
Nano
Pump
2
Column
1
IMER
W
W
Urea
IAA
DTT
Huang et al. Endocrinology 157, 1307-1314 (2016).

## Slide 31: Nanoscale Sample Processing
Proteome coverage achieved for ~10 HeLa cells using nanoPOTS is shown in red. Previously reported proteome coverage for small populations of mammalian cells is shown in blue.
Benchmarking