## Slide 1
Sanford Markowitz
Helen Moinova
Joseph E. Willis
Amitabh Chak
Biomarker Based
Non-Endoscopic Detection Of Barrett’s Esophagus (BE) And Esophageal Adenocarcinoma (EAC)
Notes: 1

## Slide 2: COI DISCLOSURE
Sanford Markowitz receives royalties on methylated DNA technology licensed to Exact Sciences and is a founder, board member, consultant, and inventor on patents licensed to Lucid Diagnostics. Helen Moinova is an inventor on patents licensed to Lucid Diagnostics.

## Slide 3: The Team
Helen Moinova
Joe Willis
Amitabh Chak
Kishore Guda
Tom LaFramboise

## Slide 4
Esophageal Cancer (EAC):
Fastest growing cancer in U.S.
5-year survival < 20%
Death toll now exceeds ovarian cancer
Seldom detected early
The EAC Challenge

## Slide 5
Only known precursor to EAC
Occurs in distal esophagus in patients with GERD
Barrett’s esophagus (BE)
The EAC Opportunity

## Slide 6
Only known precursor to EAC
Occurs in distal esophagus in patients with GERD
Detection of BE and ablation of dysplastic BE can prevent cancer
Barrett’s esophagus (BE)
The EAC Opportunity

## Slide 7: Challenges to BE Screening by EGD

## Slide 8: Challenges to BE Screening by EGD
  EGD is costly, requires sedation, day off work.
  EGD Screening only recommended by AGA, and only in those with chronic GERD + additional risk factors.
  EGD screening, even in GERD, not generally accepted by primary care physicians or patients.
  Effectiveness Limited – 40% of EAC pts have no GERD symptoms.
  Challenge: Antecedent BE recognized beforehand in <10% of EAC cases.

## Slide 9: The Need
  Needed: Non-EGD Biomarker Driven approaches that can detect BE more easily and at less expense than EGD.

## Slide 10: Biomarker Approach
Chart: Non-Dysplastic Barrett’s Detection
| SENSITIVITY | SPECIFICITY
balloons | 92 | 90
Specificity
Sensitivity
92%
90%

## Slide 11
i) Methylated DNA Biomarker Panel
ii) Swallowable Esophageal Sampling
Device
Biomarker Approach

## Slide 12: Vimentin Gene Methylation (mVim) is a Colon Cancer Biomarker
1
N
2
3
4
5
6
7
8
9
10
11
12
T
N
T
N
T
N
T
N
T
N
T
N
T
N
T
N
T
N
T
N
T
N
T
Methylated in 80% of Colon Cancer Cases
ATG
EXON 1
Methylated in
Cancer
Notes: Note within large CpG Island there is a small group of CpG that are robust in descriminating cancer from normal

## Slide 13: Vimentin Gene Methylation (mVim) is a Colon Cancer Biomarker
  Methylated Vimentin DNA: Commercialized by Exact Sciences For Stool DNA Detection of Colon Cancer (ColoSureTM, LabCorp)
Notes: Note within large CpG Island there is a small group of CpG that are robust in descriminating cancer from normal

## Slide 14: Cancer Epidemiology, Biomarkers & Prevention, April 2012
Vimentin Methylation in Barrett’s/EAC
(91% Sensitive)
Vimentin Methylation as a Gastrointestinal Cancer Biomarker Moinova et al. ________________________________
Page 594
Normal
BE
HGD
EAC
SCC
Chart: 
| 0.9 | 0.9
row 6 | 0.0011235 | 0.001
row 7 | 0.0013952 | 0.001
row 8 | 0.0044917 | 0.001
row 9 | 0.0053107 | 0.001
row 10 | 0.005994 | 0.001
row 11 | 0.0069686 | 0.001
row 12 | 0.0075738 | 0.001
BE/IM/LGD | 0.001488 | 0.18461 | 0.20145 | 0.2846 | 0.32604 | 0.34459 | 0.41552 | 0.4212 | 0.52311 | 0.53142 | 0.53395 | 1.0227 | 1.1532
HGD | 1.176 | 0.24307 | 0.35115 | 0.36094 | 0.6241 | 0.76323 | 0.88655
EAC | 0.001 | 0.001 | 0.001 | 0.020858 | 0.072016 | 0.12016 | 0.14118 | 0.1624 | 0.17669 | 0.24685 | 0.25113 | 0.31711 | 0.34162 | 0.41652 | 0.44571 | 0.46779 | 0.50697 | 0.53992 | 0.57253 | 0.64558 | 0.67687 | 0.77527 | 0.96764 | 0.99054 | 1.0683 | 1.6961
Sq. Cancer of esophagus | 0.00097144 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0015049 | 0.2036 | 0.46478 | 0.90099
Normal Sq mucosa | 0.0009713
Notes: Study lead by Helen Moinova in our EDRN team in collaboration with Case BETRNet and Case GI SPORE

## Slide 15
Pilot Study – Molecular Cytology: 90% of BE Detected by mVIM DNA on Esophageal Brushings

## Slide 16
Molecular Cytology: mVim in Esophagus Cytology Brushings (N=310)
AUC: 0.948
If >1.05%:
Sensitivity: 90.7%
Specificity: 93.2% Cases: 107; Controls 59
AUC: 0.956
If >1.05%:
Sensitivity: 91.5%
Specificity: 92.6% Cases: 117; Controls 27
Training set
Validation set
mVIM
mVIM

## Slide 17
If One Marker is Good, Would Two Markers Be Better?
New Complementary Methylation Marker

## Slide 18
If One Marker is Good, Would Two Markers Be Better?
Genome Wide RRBS in 72 Biopsies: 26 EAC/Sq pairs; 15 BE; 5 EAC Cell Lines
New Complementary Methylation Marker

## Slide 19
New Complementary Methylation Marker (mCCNA1)
CCNA1 locus
CpG island 872 bp, 103 CpGs
RRBS patch, 90bp, 7 CpGs
RefSeq
Transcripts
NGS assay 176 bp, 21 CpGs

## Slide 20
New Complementary Methylation Marker (mCCNA1)
CCNA1 locus
CpG island 872 bp, 103 CpGs
RRBS patch, 90bp, 7 CpGs
RefSeq
Transcripts
NGS assay 176 bp, 21 CpGs
Sq
NDBE
EAC
HGD
mCCNA1
Chart: Fraction of methylated reads
NDBE | 0.24032 | 0.49895 | 0.61983 | 0.17348 | 0.48807 | 0.40365 | 0.27186 | 0 | 0.58601 | 0.40905 | 0.15742 | 0.43555 | 0.08484 | 0.45573 | 0.087588 | 0.26382
HGD | 0.11866 | 0.14257 | 0 | 0.49702 | 0.85981 | 0.44218 | 0 | 0 | 0.00781 | 0.0060773 | 0.83942 | 0.95529 | 0.74027 | 0.16231 | 0.017956 | 0.87814 | 0.71886 | 0.86627 | 0.47696

## Slide 21
Molecular Cytology: mCCNA1 in Esophagus Cytology Brushings (N=313)
Training set
AUC: 0.948
If >1.05%:
Sensitivity: 90.7%
Specificity: 93.2% Cases: 107; Controls 59
Validation set
AUC: 0.956
If >1.05%:
Sensitivity: 91.5%
Specificity: 92.6% Cases: 117; Controls 27
AUC: 0.954
If >3.12%:
Sensitivity: 90.7%
Specificity: 98.4% Cases: 108; Controls 61
AUC: 0.952
If >3.12%:
Sensitivity: 89.6%
Specificity: 92.9% Cases: 115 Controls 28
mCCNA1
mCCNA1

## Slide 22
mVIM and mCCNA1 in combined esophageal brushings
from 229 cases of BE/EAC and 84 controls
Molecular Cytology: mVIM + mCCNA1 in 313 brushings
Project JEDI
AUC: 0.956
Cases: 230; Controls 86
AUC: 0.954
Cases: 229; Controls 89
mVIM
mCCNA1

## Slide 23
Molecular Cytology: mVIM + mCCNA1 in 313 brushings
 | mVIM (Positive if > 1.05%) |  | mCCNA1 (Positive if > 3.12%) |  | Either mVIM or mCCNA1 Positive | 
 | % | # | % | # | % | #
Specificity Control GEJ (GERD , EE, other) | 93% | 86 | 97% | 89 | 91% | 84
Sensitivity NDBE | 92% | 71 | 80% | 69 | 92% | 72
Sensitivity LGD | 94% | 33 | 91% | 32 | 94% | 34
Sensitivity HGD | 87% | 23 | 100% | 23 | 100% | 23
Sensitivity Cancer | 91% | 97 | 95% | 99 | 96% | 100
Notes: Note, this is using training set cutoff
And for specificity it censors cases where have only one negative maker and other N/A
For sensitivity it counts all cases with one negative marker as negative (“allowing fails”)
For GEJ, 8 cases (+) for vim or sqbe18; 76 negative for both, 7 cases negative for one marker and other failed

## Slide 24
Additional Specificity Studies
mVim and mCCNA1 tested negative on biopsy series of additional common upper GI pathologies including chronic carditis and eosinophilic esophagitis.
Notes: Note, this is using training set cutoff
And for specificity it censors cases where have only one negative maker and other N/A
For sensitivity it counts all cases with one negative marker as negative (“allowing fails”)
For GEJ, 8 cases (+) for vim or sqbe18; 76 negative for both, 7 cases negative for one marker and other failed

## Slide 25
Additional Specificity Studies
mVim and mCCNA1 tested negative on biopsy series of additional common upper GI pathologies including chronic carditis and eosinophilic esophagitis.
Tissue | False Positives | N
Control GE-Junction | 0 | 40
Control Distal Esophagus | 0 | 24
Chronic Carditis | 0 | 15
Eosinophilic Esophagitis | 0 | 15
Notes: Note, this is using training set cutoff
And for specificity it censors cases where have only one negative maker and other N/A
For sensitivity it counts all cases with one negative marker as negative (“allowing fails”)
For GEJ, 8 cases (+) for vim or sqbe18; 76 negative for both, 7 cases negative for one marker and other failed

## Slide 26
Additional Specificity Studies
Smoking associated DNA methylation in proximal esophagus brushings
Notes: Note, this is using training set cutoff
And for specificity it censors cases where have only one negative maker and other N/A
For sensitivity it counts all cases with one negative marker as negative (“allowing fails”)
For GEJ, 8 cases (+) for vim or sqbe18; 76 negative for both, 7 cases negative for one marker and other failed

## Slide 27
Additional Specificity Studies
mCCNA1
mVIM
Non-smokers
Smokers
Non-smokers
Smokers
p=0.0094
p=0.0155
Smoking associated DNA methylation in proximal esophagus brushings
Notes: Note, this is using training set cutoff
And for specificity it censors cases where have only one negative maker and other N/A
For sensitivity it counts all cases with one negative marker as negative (“allowing fails”)
For GEJ, 8 cases (+) for vim or sqbe18; 76 negative for both, 7 cases negative for one marker and other failed

## Slide 28: The Challenge
  Comfortable Non-Endoscopic Sampling of the Distal Esophagus / GE Junction
  Without Sampling the Proximal Esophagus and Throat

## Slide 29: The Power of Pairs
i) Methylated DNA Biomarker Panel
ii) Swallowable Esophageal Sampling
Balloon

## Slide 30: JASSS Balloon
Joe/Amitabh/Sandy’s Swallowable Sampling Balloon
Tethered balloon
is swallowed
Balloon with structured surface:
i) inflated in the stomach
ii) pulled back to sample distal esophagus
Capsule sized balloon
Balloon deflated
for retrieval
Notes: Design incorporates proprietary features that make the balloon device inherently superior to a sponge.

## Slide 31: JASSS Balloon
  FDA Review: Non-Significant Risk Device
Joe/Amitabh/Sandy Swallowable Sampling Balloon
Tethered balloon
is swallowed
Balloon with structured surface:
i) inflated in the stomach
ii) pulled back to sample distal esophagus
Capsule sized balloon
Balloon deflated
for retrieval
Notes: Design incorporates proprietary features that make the balloon device inherently superior to a sponge.

## Slide 32
Demonstration
CONFIDENTIAL

## Slide 33: JASSS Balloon Advantages
  Small Size for Insertion and Removal Maximizes Patient Comfort
  Design Maximizes Sample Quantity
  Maximizes Biomarker Signal to Noise by:
      Targeting Sampling to Distal Esophagus
      Protecting Sample from Dilution and Contamination in Proximal Esophagus and Oropharynx

## Slide 34: Study Design
Patients with BE, EAC, or GERD controls were recruited for JASSS prior to EGD at 3 hospitals
JASSS sampling was performed with sips of water and prn pharyngeal anesthesia
Balloons were placed in vials and frozen
DNA was extracted from balloons, bisulfite converted, and sequenced with NGS
A software pipeline calculated % DNA reads arising from bisulfite converted methylated versus unmethylated Vim and CCNA1 templates

## Slide 35: Results
156 patients recruited from 3 hospitals.
128 (82%) successfully swallowed first generation device.
  116 (91%) balloons collected > 60 ng of DNA, which was adequate for NGS analysis
86 individuals had evaluable diagnoses (Exclusions: 23 post ablation, 4 gastric IM, 3 cardia IM / IM of GEJ / Irregular Z line)

## Slide 36: Results - Tolerance
Procedure took mean 3.1 minutes (range, 1 – 14 min).
72% of the 128 subjects rated overall tolerance as excellent
93% preferred JASS to EGD and were willing to repeat it again.
Scores of 1 or 2 on a 10-point Likert scale, denoting little to no anxiety, pain, or choking, were reported by 75%, 95%, and 82% of subjects, respectively.
Scores for gagging during swallowing were slightly higher, >2, in 47% of subjects.

## Slide 37: Performance Equals Endoscopic Brushings
AUC: 0.91
N=36 controls, 50 cases
AUC: 0.92
N=36 controls, 50 cases
mVIM
mCCNA1

## Slide 38
Performance in 86 Subjects
 | Sample # | mVIM (Positive if >1.0%) | mCCNA1 (Positive if >1.0%) | Either mVIM Or mCCNA1 Positive
Specificity on Controls | 36 | 92% | 100% | 92%
Sensitivity: Non-Dysplastic BE (>1cm) | 31 | 81% | 71% | 90%
Sensitivity: All Dysplastic BE | 11 | 73% | 73% | 82%
Sensitivity: All Cases | 50 | 80% | 72% | 88%

## Slide 39: CONCLUSIONS
JASSS encapsulated balloon can sample the distal esophagus with excellent tolerability and acceptability.
Methylated Vimentin and CCNA1 can be successfully assayed on JASSS samples by NGS bisulfite sequencing.
BE and EAC detected with high sensitivity and specificity, demonstrating the feasibility of non-endoscopic unsedated BE screening.

## Slide 40: Next Steps
2nd Generation JASSS Balloon with Improved Swallowability and Increased DNA Collection
Case Control Study to define optimal performance of New Balloon with Marker Panel
Multi-center BE detection study in at risk screening population.
CLIA Grade mVIM and mCCNA1 assays
Biomarker Discovery to Distinguish BE versus Dysplasias and Cancers to Allow for Nonendoscopic BE Surveillance

## Slide 41: Summary

## Slide 42
Gen 1 JASSS device had a 17% failure to swallow rate
Gen 1 had a 9% rate of inadequate DNA (<60 ng)

## Slide 43
Gen 2 - improved design of JASSS balloon to improve swallowing and DNA sampling
Recruited 59 subjects, Only 2 failed to swallow (<4%)

## Slide 44
Generation 1 Samples Collected on Frozen Balloons
Ongoing Studies – Testing Effects of Collecting Balloons in Alcohol Based Fixatives

## Slide 45
Next Step – Establishing Cut Point for Assay on Samples Collected in Alcohol Based Fixatives

## Slide 46
Marker | 2 Methyl DNAs | P53 | P53 + Methyl DNAs
Specificity NDBE (Lesion) | 91.4% | 97.1% | 88.9%
Sensitivity LGD (lesion) | 25.7% | 10.3% | 30.8%
Sensitivity HGD (lesion) | 48.0% | 16.0% | 56.0%
Sensitivity All dysplasia (Lesion) | 35.0% | 12.5% | 40.6%
Sensitivity All cancers (lesion) | 57.0% | 43.4% | 73.0%
BE Progression Biomarkers-Brushings

## Slide 47: Summary
State of Biomarker Research
Pre-EDRN: No BE Biomarker Assay
With EDRN: National Clinical Trial of BE Biomarker
Novelty
  BE Biomarkers: Methylated DNA, mVim, CCNA1,
  Balloon Device for Non-Endoscopic Sampling
Biomarker Discovery, Prevalidation, and Validation
mVim, mCCNA1
Team Science
      BE Biomarker Discovery, Prevalidation, Validation Collaborative with EDRN, BETRNet, GI SPOREs Program
      CRC Biomarker Studies Collaborative with Schoen, Vogelstein, and GLNE (Brenner and Colleagues)